**INSTI Rapid HIV Testing**



**Supplies & Equipment**

**INSTI Test Kits, Controls Provided**

* External Controls
* Testing Devices/equipment

1 membrane unit

3 reagent solutions (Solution 1,2 and 3)

Alcohol Swab

Pipette

Lancet

**Additional Supplies, Equipment Required**

* Alcohol-based hand sanitizer gel
* Band-Aid
* [Red biohazard stick-on bags](https://www.safcodental.com/catalog/infection-control/biohazard-bags/red-biohazard-stick-on-bags) – available from Safco Dental Supply
* Biohazard sharps container - available from Sam’s Club and CVS.
* Biohazard sign for the fridge
* Timer that makes an audible sound when time is up
* Disposable latex or nitrile gloves
* Disposable, absorbent workspace cover
	+ Available from most pet stores
	+ Or at Wal‐Mart near Depends.
* Disinfectant wipes
	+ Cavi Wipes available from Vitality Medical
	+ Different brands also available.
	+ Note: to be effective, wipes must be used in accordance with manufacturer’s instructions.
* Sterile Gauze pads
* Regular trash can
* Minimum / Maximum Thermometer
	+ To monitor temperature in fridge where controls are stored / room where test kits are stored
	+ Min/Max thermometer available from VWR International
* Sharpie (indelible marker) used when running controls, Pen and Paperwork
* Small refrigerator – for controls and specimens only, no food storage
* Watch or clock
* Blank calendar (to explain Window Period)